## Slide 1
Compressor
Air regulator
Pressure
Sensor C
Patient
E-Valve 2
N.O
UV light
ULPA filter
If a reliable medical air line is available with enough* pressure, then no compressor is needed.
Air filter
“Pandemic” ventilator – V2.0
Air system diagram
Design by Marco Mascorro. @Mascobot
Email: m@marcomascorro.com
For educational purposes only.
Use at your own risk.
Electronic
pressure
Regulator 1
Oxygen
Line denotation
Clean air
Contaminated air
Oxygen
Notes:
Oxygen input needs to be “flow-positive” into the system.
Disclaimer: Non-FDA approved. This product is not intended to diagnose, treat, cure, or prevent any disease.
Version: V2.0
Joints
Filtering
Electronic
pressure
Regulator 2
Humidifier
CO2
Pressure
Sensor A
Flow Meter 1
E-Valve 1
N.C
Pressure
Sensor B
PEEP Valve

## Slide 2
“Pandemic” ventilator – Minimal design
Electric system diagram
Design by Marco Mascorro. @Mascobot
Creative Commons BY-SA license
Email: m@marcomascorro.com
For educational purposes only.
Use at your own risk.
12 VDC